## Slide 1: Algorithmic Concepts of Peak Picking # Algorithmische Konzepte für Peak Picking
Zhixu Ni
06.06.2024
A
B
Algorithmic Concepts of Peak Picking © 2024 by Zhixu Ni is licensed under
Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International

## Slide 2: Was sind diese Plots, welche Technik/Instrument stammen sie und wo ist der Peak?
Zhixu Ni, 1H NMR spectrum of Menthol, Master practical NMR course
Supervised by Prof. Stefan Berger, Uni Leipzig, 2011
Kernspinresonanzspektroskopie:
Nuclear magnetic resonance (NMR)
Flüssigchromatographie mit Massenspektrometrie-Kopplung:
Liquid chromatography–
mass spectrometry (LC-MS)
13
14
15
16
17
18
Time (min)
0
10
20
30
40
50
60
70
80
90
100
Relative Abundance
15.26
14.77
14.30
NL: 8.12E5
m/z 824.54
Dünnschichtchromatographie:
Thin-Layer Chramotography (TLC)
Zhixu Ni, unpublished experiment results, 2014
Zhixu Ni, Georgia Angelidou, Mike Lange, Ralf Hoffmann, Maria Fedorova. (2017) Analytical Chemistry, 2017, 89 (17), pp 8800–8807.
Notes: "Wie viele von Ihnen wissen, was Bild 2 ist? Heben Sie bitte die Hand.

## Slide 3: LC-MS Peak und Peak-Picking
Zhixu Ni, Georgia Angelidou, Mike Lange, Ralf Hoffmann, Maria Fedorova. (2017) Analytical Chemistry, 2017, 89 (17), pp 8800–8807.
13
14
15
16
17
18
Time (min)
0
10
20
30
40
50
60
70
80
90
100
Relative Abundance
15.26
14.77
14.30
NL: 8.12E5
Was ist ein Peak in LC-MS Rohdaten?
What is a peak in LC-MS raw data?
Warum brauchen wir Peak-Picking in die LC-MS?
Why we need peak picking in LC-MS?
Wie macht man Peak-Picking in die LC-MS?
How to make peak picking in LC-MS?
m/z 824.54

## Slide 4: LC-MS peaks for isomer detection
A
Zhixu Ni, Georgia Angelidou, Mike Lange, Ralf Hoffmann, Maria Fedorova. (2017) Analytical Chemistry, 2017, 89 (17), pp 8800–8807.
13
14
15
16
17
18
Time (min)
0
10
20
30
40
50
60
70
80
90
100
Relative Abundance
15.26
14.77
14.30
NL: 8.12E5
B
C
Different peak in LC
Different compound
No structure information
Different peak sets in MS2
Different compound
No quantity information
LC
MS
C45H79NO10P-
XIC m/z 824.54
LC-MS peaks  Quantify compounds
# Daher wechsle ich jetzt ins Englische.
A
B
C
Notes: Dieses Thema ist zu schwierig für mich, um es Ihnen auf Deutsch zu erklären. Um sicherzustellen, dass meine Erklärung korrekt ist, werde ich jetzt ins Englische wechseln.

## Slide 5: What is a peak in LC-MS raw data?
TIC: Total
  Ion
  Current
  Chromatogram
XIC: EXtracted
  Ion
  Current
  Chromatogram
m/z
m/z
m/z
m/z
m/z
m/z
m/z
RT
RT
RT
XIC @ m/z
m/z | Time (min) | Intensity (Abs)
… | … | …
824.5449 | 17.02 | 11000
824.5446 | 17.04 | 19000
824.5447 | 17.06 | 27500
824.5445 | 17.08 | 17300
… | … | …
XIC @ m/z
EIC
RT
Retention time (RT)
MS1 spectrum
1
1
2
2
3
4
6
5
7
3
4
6
5
7
Trace the intensity of m/z over time

## Slide 6: LC-MS XIC peak shape related to number of raw data points
Apex?
Hochpunkt?
Same m/z + More points on peak
 Better peak shape
Low number of points on peak
 Missing peak apex
Ni, Zhixu, et al. "LipidHunter identifies phospholipids by high-throughput processing of LC-MS and shotgun lipidomics datasets."
Analytical Chemistry 89.17 (2017): 8800-8807.
XIC @ m/z
XIC @ m/z

## Slide 7: Measurement settings changes number of points in the raw data
6 points in window
12 points in window
24 points in window

## Slide 8: Number of points on peak v.s. total number of points
4 points on peak
8 points on peak
15 points on peak
6 points in window
12 points in window
24 points in window
More frequent MS1 scan  More data points on LC-MS XIC  Better peak shape

## Slide 9: Fit Curve from experimental data points
+1.26% peak area
+ 0.70% peak area
+1.68% peak area
4 points on peak
8 points on peak
15 points on peak
More points on peak  Closer to the true peak area  Better quantification results

## Slide 10: More complex situations for curve fitting and smoothing
! Peak area changes !

## Slide 11: Short summary for LC-MS background
Chart: 
A
B
C
X
What is a peak in LC-MS raw data?
Why we need peak picking in LC-MS?
How to make peak picking in LC-MS?
LC-MS XIC peaks  Quantify compounds
LC-MS Extracted Ion Chromatogram (XIC)
Ni, Zhixu, et al. "LipidHunter identifies phospholipids by high-throughput processing of LC-MS and shotgun lipidomics datasets."
Analytical Chemistry 89.17 (2017): 8800-8807.

## Slide 12: Short summary for LC-MS background
Chart: 
A
B
C
X
Local Maximum Method
Window Search Method
Peak prominences
Gaussian Derivative based Method
Continuous wavelet transform (CWT)
… …
https://www.originlab.com/doc/X-Function/ref/pkFind
https://www.mathworks.com/help/signal/ref/findpeaks.html
https://docs.scipy.org/doc/scipy/reference/generated/scipy.signal.find_peaks.html
https://sneumann.github.io/xcms/reference/findPeaks.centWave-methods.html
https://pubs.acs.org/doi/10.1021/ac051437y
Zhou, B., Xiao, J. F., Tuli, L., & Ressom, H. W. (2012). LC-MS-based metabolomics. Molecular BioSystems, 8(2), 470-481.
Let’s do some math!

## Slide 13
https://www.3blue1brown.com/lessons/derivatives-and-transforms
Derivative: Die Erste Ableitung

## Slide 14
https://www.3blue1brown.com/lessons/derivatives-and-transforms
Derivative: Die Erste Ableitung

## Slide 15
Derivative: Die Erste Ableitung
Simplified gaussian first derivative for a symmetric peak

## Slide 16
Simplified gaussian first derivative for a symmetric peak

## Slide 17
Simplified gaussian first derivative for a symmetric peak

## Slide 18
Above 0
Below 0
0
Simplified gaussian first derivative for a symmetric peak

## Slide 19
0
Zero Crossing
Increase from zero
Increase to zero
Above 0
Below 0
Simplified gaussian first derivative for a symmetric peak

## Slide 20: More complex situations
How many peak(s) can you find here?
A proposed solution with a hidden peak
1
2
3

## Slide 22
First derivative curve

## Slide 23
Take derivative of the 1st derivative
First derivative curve
2nd derivative
Die Erste Ableitung
Die Zweite Ableitung
Tiefpunkt
Tief Punkt

## Slide 24
Second derivative curve
Second derivative curve
First derivative curve
Second derivative: die Zweite Ableitung
Tiefpunkt

## Slide 25
Second derivative curve
Second derivative: die Zweite Ableitung

## Slide 26: Short summary
The LC-MS XIC: the Intensity changes over Time for defined mass/charge ratio (m/z)
Different peaks in LC-MS XIC  different molecules (with same formula)
Peak picking has many different algorithms
  Gaussian Derivative, Continuous wavelet transform (CWT) , and more
Gaussian Derivative based algorithms
  1st derivative + zero crossing
  2nd derivative
A
B
1st
2nd
2nd

## Slide 27: A short comparision of different algorithms
Gaussian 2nd derivative
Continuous wavelet transform (CWT)
Gaussian
2nd derivative
Continuous
wavelet
transform
(CWT)
Different number of peaks
Different position of Peak Apex
Overlay of 5 algorithms

## Slide 28
Progenesis software, Waters, UK.
Data From Zhixu Ni unpublished data 2015
Think from chromatography side
Dünnschichtchromatographie:
Thin-Layer Chramotography (TLC)
m/z
802 m/z
intensity
time
m/z
time
intensity
https://www.waters.com/nextgen/de/de/products/informatics-and-software/
mass-spectrometry-software/progenesis-qi-software/progenesis-qi.html
Zhixu Ni, unpublished experiment results, 2014
LC-MS in 3D plot
m/z
time
Intensity  gray scale  peak by time
Intensity  gray scale  peak in Rf
LC-MS in 2D plot

## Slide 29
Screenshot of Progenesis software, Waters, UK. Data From Zhixu Ni unpublished data 2015
Find peak in 2D/3D plot of LC-MS data
Dünnschichtchromatographie:
Thin-Layer Chramotography (TLC)
m/z
time
Peaks!

## Slide 30
Melnikov, Arsenty D., Yuri P. Tsentalovich, and Vadim V. Yanshole. "Deep learning for the precise peak detection in high-resolution LC–MS data." Analytical chemistry 92.1 (2019): 588-592
Next generation AI Assisted peak picking algorithms
Peak or no peak?
How many peaks? Peak boundaries?

## Slide 31
PeakBot from Uni Vienna
https://chemnet.univie.ac.at/ https://www.youtube.com/watch?v=E50angIHCac
m/z
time
intensity
LC-MS in 3D plot

## Slide 32: Review peak picking results
Chetnik, Kelsey, Lauren Petrick, and Gaurav Pandey. "MetaClean: a machine learning-based classifier for reduced false positive peak detection in untargeted LC–MS metabolomics data." Metabolomics 16 (2020): 1-13
In reality, almost all algorithms will face certain difficulties  manual control
Identified Peak
Not part of peak
linkedin.com/in/dr-biswapriya-misra-724ba51aa/

## Slide 33
m/z | RT | i
… | … | …
824.5449 | 17.06 | 11000
824.5447 | 17.08 | 27500
824.5445 | 17.09 | 17300
… | … | …
Innovative thinking!
!! Peaks are images !!
Transfer Image classifiers for peak picking
Peaks as tables of numbers
Local Maximum Method
Window Search Method
Peak prominences
Gaussian Derivative based Method
Continuous wavelet transform (CWT)
AI (KI) methods
Wang, Dingding, et al. "An efficient mixture of deep and machine learning models for COVID-19 diagnosis in chest X-ray images." PloS one 15.11 (2020): e0242535.
Use image algorithm for peak picking?

## Slide 34
Guo, Jian, et al. "EVA: evaluation of metabolic feature fidelity using a deep learning model trained with over 25000 extracted ion chromatograms." Analytical Chemistry 93.36 (2021): 12181-12186
False peak
7867 images
True peak
17228 images
https://towardsdatascience.com/10-papers-you-should-read-to-understand-image-classification-in-the-deep-learning-era-4b9d792f45a7
Innovative thinking
False peak
7867 images
True peak
17228 images
True peak
m/z | RT | i
… | … | …
824.5449 | 17.06 | 11000
824.5447 | 17.08 | 27500
824.5445 | 17.09 | 17300
… | … | …
!! Peaks are images !!
Peaks as tables of numbers
Deep Learning methods (AI/KI)

## Slide 35: Take home messages
Algorithmic Concepts of Peak Picking © 2024 by Zhixu Ni is licensed under
Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International
1st
2nd
The LC-MS XIC: the Intensity changes over Time for defined mass/charge ratio (m/z)
  Different peaks in LC-MS XIC  Quantify different molecules (with same formula)
  Raw data needs preprocessing  baseline corrections, curve fitting, smoothing, …
Peak picking has many different algorithms
  Gaussian Derivative, Continuous wavelet transform (CWT) , 2D/3D methods, and more + AI(KI) methods
Gaussian Derivative based algorithms
  1st derivative + zero crossing
  2nd derivative
Manual revision
  Peak apex & Peak boundries
A
B
2nd
XIC @ m/z
github.com/ZhixuNi/PeakPickingLecture
@Zhixu_Ni
Download slides
PeakBot model

## Slide 36: LC-MS peaks for isomer detection
A
Zhixu Ni, Georgia Angelidou, Mike Lange, Ralf Hoffmann, Maria Fedorova. (2017) Analytical Chemistry, 2017, 89 (17), pp 8800–8807.
13
14
15
16
17
18
Time (min)
0
10
20
30
40
50
60
70
80
90
100
Relative Abundance
15.26
14.77
14.30
NL: 8.12E5
7.05E3
100
200
300
400
500
600
700
800
m/z
0
20
40
60
80
100
Relative Abundance
279.23
764.52
311.43
618.62
522.67
337.91
277.23
9.34E3
100
200
300
400
500
600
700
800
m/z
0
20
40
60
80
100
Relative Abundance
303.23
764.52
253.22
824.54
568.24
658.37
6.19E4
100
200
300
400
500
600
700
800
m/z
0
20
40
60
80
100
Relative Abundance
301.22
255.23
764.52
824.55
480.31
830.72
B
C
A
B
C
Different peak in LC
Different compound
No structure information
Different peak sets in MS2
Different compound
No quantity information
LC
MS
C45H79NO10P-
C45H79NO10P-
C45H79NO10P-
C45H79NO10P-
XIC m/z 824.54
LC-MS peaks  Quantify compounds